Energy Audit Checklist

| 1. Basic information |  |
| --- | --- |
| Date of energy audit: |  |
| Department/Building/Area covered: |  |
| Green Impact Team conducting audit: |  |
| Normal occupancy hours of building: |  |
| Cleaning times: |  |

| 2. Lighting |  |
| --- | --- |
| Are any tungsten lights present? Can they be replaced with compact fluorescents (energy saving bulbs) or LEDs? Look particularly in storerooms, uplighters, desk lamps etc. |  |
| If there are several light switches, can they be labeled to make it more obvious which switches relate to which lights? |  |
| Can lights be switched off to make use of daylight? (e.g.lights parallel to windows or in corridors) |  |
| If space is intermittently occupied (e.g. store rooms, toilets, kitchen areas, copying rooms, corridors) is there scope for automatic lighting controls? |  |
| Are any external lights on during daylight hours? |  |
| Could the main overhead lighting be switched off and desk lamps used instead? |  |
| Do any light fittings need cleaning? |  |
| Do windows and skylights need cleaning to allow in more natural light? |  |
| Are any tungsten lights present? Can they be replaced with compact fluorescents (energy saving bulbs) or LEDs? Look particularly in storerooms, uplighters, desk lamps etc. |  |

| 3. Heating |  |
| --- | --- |
| If there are Thermostatic Radiator Valves (TRVs), are they set correctly? Do they actually work or are they broken? |  |
| Are radiators effective and giving consistent heat? They may need bleeding of air or maintenance to remove dust and sediment. |  |
| If there is a room thermostat, is it correctly set? |  |
| If the room tends to overheat, is there any bare pipework that could be insulated? |  |
| Are radiators blocked by boxes and furniture, restricting air circulation? |  |
| Are portable electric heaters in use? If so, why is the heating system not adequate? |  |
| If there are permanent electric heaters with individual temperature and time control, are they set correctly? |  |
| Are external doors and windows closed when heating is on? |  |
| Are any window panes cracked or broken? |  |
| Is there evidence of problems with double glazing (e.g. moisture between panes)? |  |
| Is there adequate draught proofing on windows and external doors? |  |
| If there is a roof space, is it insulated? |  |
| Are blinds closed at the end of the day during winter to cut down on heat loss? |  |
| Is heating or air conditioning left on in unused spaces, such as cupboards, corridors? |  |

| 4. Cooling and ventilation |  |
| --- | --- |
| If there is air conditioning with local controls, make sure it is only on when necessary. Is it obvious how to control it? What temperature is it set to? |  |
| Is air conditioning running at the same time as heating? |  |
| Could the building make better use of the sun/shade to heat/cool the building? Perhaps by closing blinds or fitting reflective film to windows which reduce solar gain? Remember, unnecessary lights and electrical equipment also produce heat. |  |
| Are all external doors and windows closed when air conditioning is on? |  |
| Are you making the most of natural ventilation? Opening windows overnight in the summer, where it doesn’t present a security risk, will help cool the building down and reduce the need for air conditioning. |  |
| Is heating or air conditioning on in unused spaces, such as cupboards, corridors? |  |

| 5. Electrical equipment |  |
| --- | --- |
| Are computers, printers, photocopiers and other equipment switched off at the end of the day? |  |
| Can screens and other equipment be switched off during the day? |  |
| Can computers be programmed to ‘power down’ mode? |  |
| Can standby settings be avoided in favour of a full shut down? (e.g. TVs, LCD projectors, printers etc.) |  |
| Are photocopiers, fax machines and other equipment on ‘Energy Saver’ mode during the day? |  |
| Are photocopiers in a well ventilated area – not where there is air conditioning? |  |
| Can a 7 day timer be put on some equipment? (e.g. photocopiers, water coolers, cold drinks machines). These are a low cost measure. |  |
| Can any equipment be switched on later and switched off earlier? |  |
| Could timers be fitted to water coolers? |  |
| Are fridges places next to heat sources? They run more efficiently when in a cool environment. |  |
| Is the office fridge/freezer defrosted regularly? |  |
| Is the fridge thermostat working and set to the right temperature (2-4 °C)? |  |
| Are microwaves switched off at the plug after use? |  |
| Is equipment clearly labeled so that staff know how to activate energy saving features or switch it off? |  |

| 6. Water use |  |
| --- | --- |
| Is there any evidence of water leaks? (e.g. wet pathways on a dry day) |  |
| Are taps left running? Are there any dripping taps? Do taps need maintenance? |  |
| Is there scope for push button taps? |  |
| Are hot water heater timers set correctly? |  |
| If there is no timer, should one be fitted? |  |
| Is water escaping from overflows either inside or outside buildings? |  |

| 7. Awareness |  |
| --- | --- |
| Are there posters/stickers/guidance displayed to remind people of good practice? |  |
| Are staff aware of how to report an issue that is leading to water and/or energy waste? |  |

8. General Comments and actions

Make sure to assign a person responsible and deadline for any action points.