## Slide 1: Prosthetics and Nerve Interfaces: The Path to Natural sensations
Dr Leen Jabban

## Slide 2: The Importance of Touch
Normal
Digital anaesthesia

## Slide 3: The Importance of Touch
Delivers the first sensory input before birth
The hand alone has 17,000 mechanoreceptors (sensors)
Losing sensation (touch and proprioception) leads to immobility

## Slide 4: Upper-limb Difference
5,200/year
Upper-limb amputations in the UK alone
Up to 50%
Use electrical (myoelectric) prostheses
Up to 75%
Reject their prosthesis
$60,000
Average cost of myoelectric prosthesis

## Slide 5: Interfacing with Peripheral Nerves
Selectivity
Invasiveness
Surface electrodes
Extraneural
Intraneural
Regenerative
The extent of tissue penetration or disruption
The ability of a nerve interface to target specific nerve fibres.

## Slide 6: Challenges of Non-invasive Stimulation
Selectivity
Invasiveness
Targeting the nerve without activating the nerve endings in the skin, which can cause uncomfortable sensations.
Eliciting “Natural” sensations

## Slide 7: Is kHz Frequency the Solution?
+
=
Example 1
A= 200Hz
B= 201Hz
Beat= 1Hz
Example 2
A= 200Hz
B= 205Hz
Beat= 5Hz
Can control the location of interference based on the electrode arrangement around the arm.

## Slide 8: Is kHz Frequency the Solution?
Some promising results showing increased comfort
Needs further investigation into:
  How does the current spread under the electrodes?
  How are the nerves responding to those signals?
Answering those questions is a key to developing comfortable non-invasive sensory feedback

## Slide 9: Thank you!
Dr Leen Jabban
lj386@bath.ac.uk